{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":20,"n_cols":6,"rows_kept":20,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
["附件2"]
["拉萨海关缉私局警务备勤室建设项目清单"]
["序号","项目名称","内容","单位","数量","备注"]
[1,"房屋结构检测证明","专业机构出具的检测证明","套",1]
[2,"开门洞和原有卫生间拆除","旧墙体（非承重墙）、旧地面、旧吊顶、旧卫生间设施、旧门窗等的拆除及垃圾清运","㎡",45,"按改造房间面积测算"]
[3,"门窗安装与改造","备勤室安装实木门","套",1]
[4,"封闭原有卫生间门","砖混加粉刷","㎡",2,"按改造面积测算"]
[5,"防水制作","全部地面及四周墙面，防水高度不低于1.4m","㎡",35,"按改造面积测算"]
[6,"水电改造","给排水铺设及强弱电改造","㎡",8,"按改造房间面积测算"]
[7,"瓷砖铺设","卫生间地面和墙面瓷砖铺设","㎡",45,"按改造面积测算"]
[8,"吊顶安装","卫生间安装吊顶","㎡",8,"按改造房间面积测算"]
[9,"洗漱盆","在卫生间安装洗漱盆","套",1]
[10,"马桶","在卫生间安装手动马桶","套",1]
[11,"淋浴花洒","在卫生间安装淋浴花洒","套",1]
[12,"毛巾架、纸巾盒","在卫生间安装毛巾架、纸巾盒","套",1]
[13,"浴霸套装","在卫生间安装浴霸套装","套",1]
[14,"浴室隔断制作","浴室进行干湿分离","批",1]
[15,"中性卫生间隔断制作","3工位卫生间隔断制作与安装",3,"位"]
[16,"瓷砖美缝处理","对卫生间进行美缝处理","㎡",45,"按改造面积测算"]
[17,"即热式热水器","安装即热式热水器","台",1]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}